{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["废水"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"废水","index":0,"n_rows":3,"n_cols":12,"rows_kept":3,"merged":[[0,0,0,11]]}
["惠城区2025年4月重点源废气监测结果表（1家）"]
["序号","行政区","企业名称","监测点名称","执行标准名称","监测日期","监测项目名称","折算浓度(mg/m³)","标准限值(mg/m³)","是否达标","超标倍数","未监测原因"]
[1,"惠州市","惠州广惠能源有限公司","焚烧炉烟气排放口（DA001）","报告书的小时均值","2025-04-18","氮氧化物",39,200,"是","—"]