{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["地下水"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"地下水","index":0,"n_rows":4,"n_cols":25,"rows_kept":4,"merged":[[0,0,0,24],[1,6,1,24]],"flags":["formulas_cached_only"]}
["附件4：                         惠州市2020年9月生活垃圾处理企业地下水监督性监测结果"]
[{"$nulls":6},"单位：毫克/升（除PH值无量纲，粪大肠菌群为个/升外）"]
["企业名称","监测日期","监测点位","pH值","总硬度","溶解性总固体","硫酸盐","氯化物","铁","锰","铜","锌","挥发酚","高锰酸盐指数","硝酸盐（硝酸盐氮）","亚硝酸（亚硝酸盐氮）","氨氮","氟化物","氰化物","汞","砷","镉","六价铬","铅","粪大肠菌群"]
["龙门县垃圾填埋场\n（龙门县甘香垃圾场）","2020-08-11","垃圾场地下水监测井",7.11,39.8,81,1.916,3.843,5.06,0.13,0.0022,0.06,"0.0003L",2.7,0.045,"0.003L",0.05,0.034,"0.004L","0.00004L",0.0005,6e-05,"0.004L",{"v":0.002,"d":"0.0020"},"/"]